## Blank Map with Grids
DOCUMENTED RADAITON SURVEY
UNIVERSITY OF MISSOURI
Room & Building: |  |  |  | Permitted Individual: |  |  |  |  | Permit #:
List all locations where the survey data exceed the levels listed below, if none indicate "none".
When laboratory ALARA or Survey Procedure action levels are exceeded, the actions taken must be
documented in the comment section below
| Contamination Survey |  |  |  | Radiation Survey
| Instrument: |  | Efficiency: |  | Survey Meter |  | Model #:
|  |  | (DPM = CPM/Eff) |  |  |  | Serial #:
| Calibration Date: |  |  |  | Calibration Date:
| Removeable Contamintaion locations; Swipe measurements |  |  |  | Surface Contamination, locations with measurements
| greater than 200 dpm/100cm2 |  |  |  | greater than 0.3 mR/hr @ 1 cm:
| Comments: |  |  |  | Comments:
Permitted Individual: |  | Room(s) & Bldg.: |  |  |  | Date: |  | Performed By:

## Blank
Page:___ of ___
UNIVERSITY OF MISSOURI
RADIATION AND AREA CONTAMINATION SURVEY
Room & Building: |  |  | Permitted Individual: |  |  |  | Permit Number:
Not To Scale
| Radiation Survey | Denotes Location |  |  | Contamination Survey |  |  | Denotes Location
o Dose rates less than 0.03 mR/hr. |  |  |  | o Removable activity less than 200 dpm/100cm2
| Instrument: ____s/n_______________ Cal. Date:____________ |  |  |  | Instrument: | Packard 2900 LSC/ Gamma 5000
NOTES:
| Date | By